Choose an S-Bus connection for all new applications since this is more reliable.

RS 232 on PGU Port (Mode D), not recommended

| PCD1 | PCD2 | PCD4 | PCD6 | xx7 |
| --- | --- | --- | --- | --- |
| - | ( (1) | ( | ( | - |

(1): not suitable for PCD2.M150, PCDx.M170 and PCD2.M480

(without assignation of the PGU port, configuration of port 0 as S-Bus PGU port)

Selected PLC type: PCD

RS 232 auf PGU Port (SBus)

| PCD1 | PCD2 | PCD4 | PCD6 | xx7 |
| --- | --- | --- | --- | --- |
| ( | ( | ( | ( | - |

(without assignation of the PGU port, configuration of port 0 as S-Bus PGU port)

Selected PLC type: S-Bus