## Calculator
DALI Lighting System Power Calculator
| System used | DALI64 |  | Are there Emergency Lights in the System? | No
| Guaranteed PSU supply mA | 150
| Total Number of luminaires | 54 | OK | Total Number of Emergency luminaires | 0
| Number of additional DALI64 sensors | 3
| Number of additional NET sensors | 4
| Number of switch input modules | 1
| Number of Scene Plates | 1
| System Current Draw mA | 174 | Additional PSU required - disable PSU supply in DALI Sensor

## Sheet2 (hidden)
DALI16 | 60
DALI64 | 150
Network Sensors | 12
Switch Input module | 4
Scene Plates | 10
Net Sensor | 4
Yes
No